Order Form for Mycoplasma Testing from RPCI shRNA Core Facility

Request Date:___________

Contact person name:___________________________

Contact person email:___________________________

P.I. Name:________________________

Grant #:__________________________

Number of samples:___________

Please list cell line(s) to be tested:

1__________________               6__________________

2__________________               7__________________

3__________________               8__________________

4__________________               9__________________

5__________________              10__________________

Mycoplasma testing in the shRNA Core employs the Agilent Mycoplasma Plus PCR Primer Set.

For best results, culture cells in the absence of antibiotics* for several days in order to maximize the strength of the signal that is observed in PCR. Test supernatants to be used in PCR should be derived from cells that are at or near confluence.

*Although most common antibiotics will not eliminate mycoplasma, the presence of antibiotics may reduce the sensitivity of the kit by artificially suppressing levels of detectable mycoplasma. However this depends on the antibiotic and species.

Each mycoplasma test requires ~250ul of cell culture supernatant.  Supernatant may be heat-inactivated at 95°c for 5 minutes then frozen at -20°c until tested.  Fresh culture supernatant may also be supplied for testing.

Have these cells previously tested positive for mycoplasma contamination?__________________________________

Samples that are negative by PCR assay at the 10th passage in antibiotic-free medium after treatment to remove mycoplasma are considered cured.